The Replica 360 Recto/Verso Recording System: description

The Replica 360 Recto/Verso Recording System is a rapid capture system conceived as a rotary table that moves continuously and records both sides of the object. Two operators work together, one placing the objects and the other removing them at the same time that digitalization occurs reducing manipulation time per document. The circular set-up saves space and allows the operators work side by side, so they will be able to discuss and correct problems as they occur - social interaction plays an important part when working on repetitive actions for many hours at a time.

The rotary table is driven by a motor at a controlled speed. A sensor system calculates the position and

detects when a document is placed on the glass surface. The ‘capture’ is done with two identical highresolution cameras with specially designed lighting units for instant capture. The flash units have been designed, electrically engineered, 3D printed and assembled in Factum Arte. They provide the lowest level of light required to achieve a high quality focused images without significant glare or shine.

A computer network performs an automatic download, matching the recto and verso images of each document and generating an md5 signature (assuring the integrity of the file). Basic metadata tags link the photographs to the existing Cini catalogue. All this is done in real time. All the images are placed into an easy to access shared-folder. This will form part of the new Cini network so the data can be easily backed up and processed in the specialised software being written at the DHLAB at EPFL .

Technical Specifications

- Maximum document scanning rate: 4 seconds per document (rear and front sides)

- Maximum document size: A2 format 594 x 420 mm

- Resolution: 400 ppi at 5424 x 3616 pixels

- 2 Cameras: Canon Full Frame 50 MegaPixels 5DSR

- Lenses: Sigma 50mm f/1.4 DG HSM Art

- Lighting system: Custom built xenon tube flashes

- Total Dimensions: Table Diameter: 2000 mm, Column Height: 2300 mm

- Hardware: A computer network made up with the following equipment:

Camera controllers (x2) : NUC Intel i5 processor, 8GB RAM memory, USB 3.0, Gigabyte network

interface:

Server: Lenovo TSTATION P300, 16Gb RAM Memory, 2 Terabytes hard disk, double network interface.

Switch: Netgear Smart 8 ports gigabyte.

- Software: Remote camera view and control. Download and indexation of raw images. MD5 signature

generation. Automatic exif metadata tagging (geolocation, copyright and document name tags). Images can be accessed in a shared folder using a local area network.